Division 03

Section: 03 05 53 – Concrete Admixtures

Specification Language

#### Corrosion-Inhibiting Admixture:

#### Shall be a nominal 30 percent solution of calcium nitrite or an amine/ester-based organic corrosion-inhibiting admixture. [MasterLife CI 30 (formerly Rheocrete CNI)] or [MasterLife CI 222 (formerly Rheocrete 222+)] by BASF Corporation